## Data Availability
THE SUMMARY OF AVAILABILITY OF DIGITAL HYDROLOGIC DATA FOR ACTIVE MONITORING SITES FOR WATERWAYS GROUP
(Updated in June 2020)
Catchment | Site ID | Station Name | Easting | Northing | Date Commissioned |  | Digital Data Start Date |  | Data Quality |  | Flow Control Condition
[5 empty] | Level | Rainfall | Level | Rainfall | Level | Rainfall
Brushy Creek | 229249A | Brushy Creek at Mooroolbark | 350760 | 5816830 | 1987-05-16 | 1987-05-16 | 1987-05-20 | 1987-05-16 | Good (some gaps) | Good | concrete weir, stable
Bunyip River | 228201B | Tarago River at Drouin West | 397350 | 5783750 | 1964-02-21 | 2000-07-14 | 1964-02-21 | 2000-07-14 | Good | Good | concrete weir (leaking)
Bunyip River | 228206B | Tarago River at Elton Rd Neerim | 406340.82 | 5797779.18 | 1959-05-22 | na | 1959-05-22 | na | Good |  | Rectangular weir
Bunyip River | 228207A | Bunyip River Headworks | 389350 | 5799600 | 1948-05-01 | 1995-07-29 | 1948-07-16 | 1995-09-25 | Good | Good | concrete weir
Bunyip River | 228212A | Bunyip River at Tonimbuk | 391300 | 5791000 | 1962-03-01 | 1995-06-02 | 1962-03-16 | 1995-06-03 | Good | Good | weir, stable control
Bunyip River | 228213A | Bunyip River at Iona | 384700 | 5778910 | 1947-09-01 | 1995-06-01 | 1962-06-13 | 1995-06-01 | Good | Good | rock structure, good control
Bunyip River | 228219C | Tarago River at Neerim South | 406800 | 5789860 | 1965-06-01 | na | 1966-08-23 | na | Good |  | concrete weir
Bunyip River | 228224A | Tarago Reservoir RG | 406960 | 5791100 | na | 1970-01-01 | na | 1995-06-03 |  | Good
Bunyip River | 228225A | Yallock Outfall Drain at Murray Road, Cora Lynn | 376739.6 | 5775749.6 | 1966-01-01 | na | 1966-01-01 | na | Fair (only daily flow data up to Sep 1981) |  | natural, poor control affected by vegetation
Bunyip River | 228238A | Tarago River East Branch at Neerim | 406338.41 | 5798089.31 | 1993-03-10 | 2010-01-05 | 1993-03-10 | 2010-01-28 | Good | Good | 120 V notch
Bunyip River | 228255A | Bunyip River d/s Cannibal Ck, Longwarry North | 390650 | 5784800 | 2001-10-05 | 2001-09-07 | 2001-10-15 | 2001-10-05 | Fair (some gaps and bad quality data) | Good | natural, fair stability
Bunyip River | 228271A | Neerim Ck at Neerim | 406360.27 | 5797882.17 | 2010-01-05 | na | 2010-06-11 | na | Good |  | V notch
Bunyip River | 228380A | Bunyip River at Yallock Outfall at Cora Lynn ford | 377950 | 5776950 | 1995-08-24 | na | 1995-08-24 | na | Fair |  | stable rock structure/culvert
Bunyip River | 228395A | Bunyip River at Koo-Wee-Rup | 366500 | 5771050 | 1999-06-29 | 1996-07-01 | 1999-06-29 | 1996-07-01 | Good | Good | natural, fair stability, influenced by tide
Bunyip River | 228804A | Nayook RG | 405808 | 5801275 | na | 1987-06-22 | na | 1987-06-22 |  | Good
Dandenong Creek | 586090 | Mount Dandenong RG (at GTV 9 Tower) | 355040 | 5811760 | na | 1987-01-01 | na | 1987-01-01 |  | Good
Dandenong Creek | 586375 | Cranbourne RG (at Botanical Gardens office) | 348000 | 5778300 | na | 1979-07-17 | na | 1979-07-17 |  | Good (some gaps before 95)
Dandenong Creek | 228203C | Eumemmering Creek at Lyndhurst | 343720 | 5788800 | 1924-11-01 | 1995-09-25 | 1969-11-28 | 1995-09-25 | Good | Good | concrete weir
Dandenong Creek | 228204C | Dandenong Creek at Hammond Rd, Dandenong | 342400 | 5793210 | 1924-11-01 | na | 1984-08-09 | na | Good |  | concrete channel
Dandenong Creek | 228210C | Mile Creek D/S Yarraman Creek, Keysborough | 341240 | 5794200 | 1982-12-01 | na | 1982-12-01 | na | Good (gaps in 96, 97-99) |  | natural, fair stability
Dandenong Creek | 228229B | Monbulk Ck Retarding Basin at Lysterfield | 352682 | 5801201 | 2006-06-27 | na | 2006-06-27 | na | Good |  | natural riffle, fair stability
Dandenong Creek | 228231A | Hallam Valley Contour Drain, Hampton Park | 346800 | 5790300 | 1977-06-15 | 1995-07-29 | 1977-06-15 | 1995-09-08 | Good (gaps in 87, 88 and 94) | Good | concrete weir
Dandenong Creek | 228233B | Eastern Contour Drain at Fox Drive, Dandenong South | 343628 | 5786567 | 2017-05-19 | 2017-05-19 | 2017-05-19 | 2017-05-19 | Good | Good | concrete culvert
Dandenong Creek | 228235A | Eumemmering Ck d/s Hallam/Belgrave Rd, Narre Warren Nth | 351460 | 5795680 | 1980-02-01 | 2001-09-25 | 1980-02-01 | 2001-10-15 | Good (gaps in 97-99) | Good | concrete weir
Dandenong Creek | 228351B | Blind Creek at High St Rd, Wantirna South | 343115 | 5806296 | 2009-10-23 | na | 2009-10-23 | na | Good |  | concrete channel
Dandenong Creek | 228356B | Dandenong Ck at Keysborough (at Eastlink Crossing) | 340920 | 5790250 | 2009-07-15 | 2009-07-15 | 2009-07-15 | 2009-07-15 | Good | Good | Concrete weirs
Dandenong Creek | 228357A | Dandenong Creek at Wantirna Rd, Heathmont | 344010 | 5810320 | 1975-05-25 | 1993-04-15 | 1975-05-25 | 1993-04-15 | Good | Good (some gaps before 95) | natural, fair stability
Dandenong Creek | 228362A | Mile Creek Parshall Flume at Springvale West | 337540 | 5799200 | 1976-08-28 | 1976-08-28 | 1976-08-28 | 1976-11-29 | Good (gaps in 94-98 period) | Good (some gaps before 95) | parshall flume
Dandenong Creek | 228366A | Blind Creek R/Basin at Knox | 345350 | 5807400 | 1974-01-23 | 1991-02-14 | 1974-12-31 | 1991-02-14 | Good (some gaps before 95) | Good | concrete pipe outlet
Dandenong Creek | 228368A | Dandenong Creek at Police Rd R/Basin, Rowville | 343300 | 5799450 | 1977-12-23 | 1977-12-23 | 1977-12-23 | 1977-12-23 | Good (some gaps before 95) | Good (some gaps before 95) | basin concrete outlet structure
Dandenong Creek | 228369A | Bungalook Creek at Fussell Rd R/Basin, Montrose | 353000 | 5812000 | 1979-12-10 | 1979-12-10 | 1979-12-12 | 1979-12-10 | Good (some gaps before 95) | Good (some gaps before 95) | concrete pipe outlet
Dandenong Creek | 228373A | Dandenong Creek at Liverpool Rd R/Basin, The Basin | 351320 | 5809900 | 1977-02-23 | 1977-02-23 | 1980-02-09 | 1990-10-06 | Fair (gaps before 95, in 99 and 2000) | Good (some gaps before 95) | basin concrete outlet structure
Dandenong Creek | 228393A | Corhanwarrabul Ck at Stud Rd, Scoresby | 344880 | 5803160 | 1998-07-17 | na | 1998-07-17 | na | Good |  | concrete culvert
Dandenong Creek | 228823A | Dandenong North RG | 344702 | 5795738 | na | 2014-08-01 | na | 2014-08-01 |  | Good
Dandenong Creek | 228825A | Knoxfield RG | 347019 | 5803864 | na | 2014-08-01 | na | 2014-08-01 |  | Good
Darebin Creek | 586011 | Preston RG | 324120 | 5823000 | na | 1991-05-30 | na | 1991-05-30 |  | Good
Darebin Creek | 229403A | Darebin Creek at Bell St, Ivanhoe | 326650 | 5820050 | 1999-05-25 | 1999-06-03 | 1999-05-25 | 1999-12-01 | Good | Good (gaps in 00 and 01) | concrete channel
Darebin Creek | 229612A | Darebin Creek at Bundoora | 327700 | 5825930 | 1977-06-22 | 1978-10-25 | 1977-06-22 | 1978-10-25 | Below average (many short missing/invalid data periods before 98) | Good | concrete channel
Darebin Creek | 229613A | Darebin Creek at Epping | 326460 | 5831100 | 1977-05-25 | 1977-05-25 | 1977-05-25 | 1977-05-25 | Below average (many short missing/invalid data periods before 99) | Good | poor low flow control
Darebin Creek | 229855A | South Morang RG | 331142 | 5831850 | na | 2014-08-01 | na | 2014-08-01 |  | Good
Diamond Creek | 586205 | Kinglake RG | 351374 | 5845775 | na | 1999-05-28 | na | 1999-05-28 |  | Good
Diamond Creek | 229272A | Arthurs Ck at Chapel Lane, Nutfield | 339450 | 5837100 | 2004-08-17 | na | 2004-08-17 | na | Good |  | natural, good control
Diamond Creek | 229618A | Diamond Creek at Eltham | 336260 | 5823600 | 1977-11-06 | na | 1977-11-06 | na | Good (some missing/invalid data periods) |  | concrete weir
Diamond Creek | 229619B | Diamond Creek at Hurstbridge | 340300 | 5832660 | 2009-07-07 | 2009-08-25 | 2009-07-07 | 2009-08-25 | Good (some missing/invalid data periods) | Good | natural, good control
Diamond Creek | 229620A | Arthurs Creek at Arthurs Creek | 341500 | 5838900 | 1978-01-18 | 1978-01-23 | 1978-01-18 | 1978-01-23 | Good | Good | natural, poor control
Diamond Creek | 229853A | Smiths Gully RG | 348560 | 5833450 | na | 2010-01-05 | na | 2010-01-05 |  | Good
Diamond Creek | 229858A | Eltham North RG | 338304 | 5826641 | na | 2014-08-14 | na | 2014-08-14 |  | Good
Gardiners Creek | 586006 | Mitcham RG | 340610 | 5812240 | na | 1991-05-31 | na | 1991-07-01 |  | Good
Gardiners Creek | 586023 | Notting Hill RG | 335300 | 5803200 | na | 1991-06-21 | na | 1991-06-21 |  | Good
Gardiners Creek | 586176 | Surrey Hills RG | 333330 | 5811560 | na | 1991-09-09 | na | 1991-09-10 |  | Good
Gardiners Creek | 586197 | Mt View RG (Waverley) | 339280 | 5804580 | na | 1998-10-22 | na | 1998-10-22 |  | Good
Gardiners Creek | 229624A | Gardiners Creek at Gardiner | 328950 | 5808450 | 1978-01-12 | 1989-05-01 | 1978-01-12 | 1989-05-23 | Good | Good | concrete weir
Gardiners Creek | 229625A | Gardiners Creek at Ashwood | 332730 | 5807000 | 1978-01-12 | 1992-05-13 | 1978-01-12 | 1992-05-14 | Fair (some unreliable data periods) | Good | concrete channel
Gardiners Creek | 229635A | Gardiners Creek at Lake Rd R/Basin, Blackburn | 338050 | 5811460 | 1977-08-31 | na | 1977-08-31 | na | Good |  | basin outlet
Gardiners Creek | 229636A | Gardiners Creek at Kinkora Rd R/Basin, Blackburn | 336630 | 5812840 | 1977-03-28 | 1977-04-07 | 1977-03-28 | 1977-05-04 | Below average (many short missing/invalid data periods before 98) | Good | basin outlet
Gardiners Creek | 229637A | Gardiners Creek at Middleborough Rd R/Basin, Box Hill | 335620 | 5811350 | 1977-03-16 | 1977-04-07 | 1977-03-16 | 1977-04-07 | Good | Good | basin outlet
Gardiners Creek | 229638A | Eley Rd East Drain at Eley Rd R/Basin, Burwood East | 336100 | 5809400 | 1977-08-25 | 1977-08-25 | 1977-08-25 | 1977-08-25 | Fair (some unreliable data periods) | Good | basin outlet
Gardiners Creek | 229639A | Scotchmans Ck at Waverley Rd R/Basin, Glen Waverley | 336200 | 5805220 | 1977-08-24 | na | 1977-08-24 | na | Below average (many short missing/invalid data periods before 98) |  | basin outlet
Gardiners Creek | 229640A | Scotchmans Creek at Huntingdale Rd R/Basin, Oakleigh | 333450 | 5804260 | 1977-03-27 | 1977-04-28 | 1977-03-27 | 1977-04-28 | Below average (many short missing/invalid data periods before 98) | Good | basin outlet
Kororoit Creek | 587004 | Sunshine RG (at CWW office) | 307940 | 5817550 |  | 1981-03-30 |  | 1981-03-30 |  | Good
Kororoit Creek | 587047 | Altona RG | 305500 | 5806050 | na |  | na | 1991-09-17 |  | Good (gaps in 97-98)
Kororoit Creek | 230112A | Stony Ck at Spotswood | 313300 | 5811380 | 1998-05-15 | 1999-05-15 | 1998-05-22 | 1999-05-15 | Fair (some missing/unreliable data periods) | Good | concrete channel
Kororoit Creek | 231104A | Kororoit Creek at Deer Park | 303120 | 5817700 | 1980-05-21 | 1980-05-21 | 1980-05-21 | 1980-05-21 | Fair (some missing/unreliable data periods) | Good | natural, poor low flow control
Kororoit Creek | 231105B | Kororoit Creek at Rockbank | 293510 | 5824950 | 1980-05-23 | 1980-05-23 | 1980-05-23 | 1980-05-23 | Fair (some missing/unreliable data periods) | Good
Kororoit Creek | 231106A | Kororoit Creek at Diggers Rest | 293100 | 5831400 | 1980-10-20 | 1980-10-20 | 1980-10-20 | 1980-10-20 | Below average (long missing/invalid data periods | Good | concrete control
Kororoit Creek | 231107A | Kororoit Creek at Brooklyn | 308500 | 5811780 | 1980-08-15 | 1980-08-14 | 1980-08-15 | 1980-09-01 | Fair (some missing/unreliable data periods) | Good | natural, poor low flow control
Little River | 232200C | Little River at Little River | 279110 | 5796210 | 2008-12-16 | na | 2008-12-16 | na | Fair |  | Concrete Weir
Little River | 232242A | Little River at Ripley Weir, Balliang | 270005 | 5806970 | 2008-09-01 | 2008-09-01 | 2008-09-01 | 2008-09-01 | Fair |  | Stonework weir
Little River | 232800A | Durdidwarrah (Stony Ck Reservoir) RG | 254236 | 5810140 | na | 2009-01-15 | na | 2009-01-15 |  | Good
Maribyrnong River | 587014 | Bulla RG | 305700 | 5830900 |  | 1980-05-21 |  | 1980-05-21 |  | Good
Maribyrnong River | 587024 | Footscray RG (at Footscray Bowling Club) | 314650 | 5814900 | na | 1998-09-01 | na | 1998-09-01 |  | Good (gaps in 99)
Maribyrnong River | 587026 | Lancefield Cobaw RG (at Ashworths Hill Winery) | 296000 | 5876600 | na | 2000-01-24 | na | 2000-01-24 |  | Good
Maribyrnong River | 587051 | St Albans RG | 304800 | 5821750 | na | 1980-12-12 | na | 1981-01-20 |  | Good (few gaps)
Maribyrnong River | 587117 | Romsey RG | 302200 | 5862250 | na | 1975-09-18 | na | 1976-08-02 |  | Good (gaps in 99)
Maribyrnong River | 587126 | Mt Macedon RG | 287100 | 5860300 | na | 1999-08-04 | na | 1999-08-04 |  | Good
Maribyrnong River | 230100A | Deep Creek at Darraweit Guim | 314250 | 5857250 | 1975-09-05 | 1975-09-04 | 1975-09-05 | 1976-08-01 | Good (some missing/invalid data periods) | Good | natural, poor low flow control
Maribyrnong River | 230102A | Deep Ck at Bulla | 305800 | 5832600 | 1975-09-05 |  | 1975-09-05 |  | Good | Good | concrete weir
Maribyrnong River | 230103A | Jacksons Creek at Rosslynne Res. (head gauge) | 284900 | 5849600 | 1975-09-04 | 1978-04-10 | 1975-09-04 | 1978-04-10 | Below average (short missing/invalid data before 99), Good after 99 | Good | spillway
Maribyrnong River | 230104A | Jacksons Creek at Sunbury | 300500 | 5837900 | 1975-09-04 | 1975-09-04 | 1975-09-04 | 1976-08-06 | Good | Good | concrete control, good
Maribyrnong River | 230105A | Maribyrnong River at Keilor | 309100 | 5822000 | 1975-09-04 | 1979-03-30 | 1975-09-04 | 1979-03-30 | Good (some gaps up to 89) | Good | concrete weir
Maribyrnong River | 230106A | Maribyrnong River at Maribyrnong | 314540 | 5817950 | 1975-09-04 | 1979-09-28 | 1975-09-04 | 1979-09-28 | Fair (many missing data before 98, gap in 96) | Good | natural, influenced by tides
Maribyrnong River | 230107A | Deep Creek at Konagaderra | 310400 | 5844100 | 1979-10-15 | 1979-10-12 | 1979-10-15 | 1979-10-12 | Good | Good | natural, poor low flow control
Maribyrnong River | 230119A | Deep Creek at Lancefield (Doggetts Bridge) | 302900 | 5870850 | 2000-01-24 | na | 2000-02-09 | na | Good |  | natural, good flow control
Maribyrnong River | 230211A | Bolinda Ck at Lancefield Rd Clarkefield | 300500 | 5851020 | 1970-04-21 | na | 1970-04-21 | na | Good |  | Concrete weir
Maribyrnong River | 230236A | Steele Creek at Rose Hill Rd, Keilor East | 313200 | 5819930 | 1998-09-18 | na | 1998-09-18 | na | Fair (some gaps in 99, 01, 04) |  | natural, good flow control
Maribyrnong River | 230237A | Maribyrnong River d/s Jacksons Ck | 306300 | 5827500 | 1998-02-09 | na | 1998-02-09 | na | Good |  | Concrete Weir
Merri Creek | 586146 | Wallan RG | 321360 | 5856360 | na | 1977-04-19 | na | 1977-04-19 |  | Good
Merri Creek | 229149A | Merri Creek at St Georges Rd, Northcote | 322880 | 5816700 | 1975-09-04 | 1999-05-17 | 1975-09-04 | 1999-05-17 | Good (few bad quality periods) | Good | natural, fair control
Merri Creek | 229257A | Merri Creek at Craigieburn East | 319260 | 5836580 | 2007-01-19 | na | 2007-01-19 |  | Fair (some gaps and infilled data) |  | Rock control, Concrete control to be built
Merri Creek | 229402A | Merlynston Ck at Fawkner Cemetery | 319400 | 5823500 | 1998-12-01 | 1999-05-17 | 1999-05-17 | 1998-12-01 | Good | Good | concrete channel
Merri Creek | 229603A | Merri Creek at Cooper St, Somerton | 321050 | 5831350 | 1975-09-04 | 1978-04-14 | 1975-09-04 | 1978-04-18 | Good | Good | natural, poor control
Merri Creek | 229610A | Edgars Creek at Edwardes Lake | 322850 | 5823600 | 1975-09-04 | na | 1975-09-04 | na | Fair (some bad quality periods) |  | spillway
Merri Creek | 229627A | Merri Creek at Craigieburn | 320200 | 5839350 | 1977-04-19 | 1977-04-26 | 1977-04-22 | 1977-04-26 | Good | Good | concrete control
Merri Creek | 229645A | Merri Creek at Bell St, Coburg | 321850 | 5820640 | 1979-01-22 | 1979-01-09 | 1979-01-22 | 1979-01-09 | Good | Good | natural, poor control
Moonee Ponds Creek | 586028 | Greenvale Res. RG | 315400 | 5832200 | na | 1991-07-18 | na | 1991-07-19 |  | Good
Moonee Ponds Creek | 586182 | Essendon Res. RG | 315200 | 5822540 | na | 1990-06-22 | na | 1990-11-06 |  | Good
Moonee Ponds Creek | 229643A | Moonee Ponds Creek at Flemington | 318360 | 5816240 | 1989-12-17 | 1989-11-14 | 1991-07-01 | 1991-07-01 | Fair (poor data periods due to varying control conditions) | Good (some gaps) | concrete channel, good control
Moonee Ponds Creek | 229665A | Moonee Ponds Ck at Jacana R/Basin | 315050 | 5825400 | 1993-06-01 | 1993-06-01 | 1993-06-01 | 1993-06-01 | Fair (poor data before 98 and gaps in 99) | Fair (some gaps and bad quality periods) | concrete & natural, fair control
Mordialloc Creek | 586095 | Braeside RG | 336040 | 5791420 | na | 1992-02-26 | na | 1992-03-01 |  | Good (few bad quality periods)
Mordialloc Creek | 228262A | Heatherton Main Drain at Southern Rd R/Basin, Mentone | 331800 | 5794600 | 2008-08-04 | 1997-03-24 | 2008-08-04 | 1997-03-24 | Good | Good
Mordialloc Creek | 228358A | Dunlops Rd Drain at Citrus St, Braeside | 333840 | 5793340 | 1975-03-12 | na | 1975-03-12 | na | Fair (gap in 95) |  | concrete channel with weir
Mordialloc Creek | 228603A | Clayton South Drain at Clayton R/Basin | 334100 | 5799550 | 1980-10-08 | 1980-10-08 | 1980-10-08 | 1980-10-08 | Good prior Jun 2007 only | Good | basin outlet
Mullum Mullum Creek | 586037 | Doncaster RG (at Zerbes Reserve) | 337950 | 5817150 | na | 1980-01-08 | na | 1980-01-08 |  | Good
Mullum Mullum Creek | 586065 | Ringwood RG (Burnt Bridge Tennis Club) | 346160 | 5815180 | na | 1983-03-30 | na | 1983-03-31 |  | Good (gaps in 99)
Mullum Mullum Creek | 229648A | Mullum Mullum Creek at Doncaster East | 339250 | 5820050 | 1980-07-01 | 1980-07-07 | 1980-06-30 | 1980-05-29 | Good (few missing/invalid data periods) | Good | concrete control, good stability
Olinda Creek | 229258A | Olinda Ck at McIntyre Lane, Yering | 355800 | 5826310 | 2008-08-05 | na | 2008-08-05 | na | Good |  | concrete culvert, good control
Olinda Creek | 229672A | Olinda Creek at Lilydale Lake | 354800 | 5819300 | 1990-02-27 | 1990-03-16 | 1990-08-09 | 1990-05-05 | Below average (some gaps in 90, 91, 00, 01, 05) | Good | basin outlet
Olinda Creek | 229690A | Olinda Creek at Mount Evelyn | 356900 | 5815400 | 1987-03-18 | 1987-09-08 | 1987-08-06 | 1987-09-08 | Good (few gaps in 96 and 99) | Fair (some gaps and bad quality periods) | concrete control, good stability
Olinda Creek | 229715A | Silvan RG | 360360 | 5808900 | na | 2007-12-24 | na | 2007-12-24 |  | Good
Plenty River | 588026 | Wallaby Creek Rain Gauge | 341900 | 5853800 | na | 1989-12-01 | na | 1989-12-01 |  | Below average (gaps and some bad quality data)
Plenty River | 229400A | Toorourrong Reservoir Level | 336600 | 5850500 | 1997-10-21 | 1989-12-31 | 1997-10-21 | 1990-01-16 | Fair (some missing/invalid data periods) | Fair (gaps in 91 and some bad quality periods) | spillway
Plenty River | 229614A | Plenty River at Lower Plenty | 333040 | 5822300 | 1977-07-04 | 1977-05-30 | 1977-07-04 | 1980-05-30 | Good (gaps in 78 and 95) | Good | concrete control, poor low flow stability
Plenty River | 229615A | Plenty River at Greensborough | 332560 | 5827100 | 1980-05-22 | 1990-08-21 | 1980-05-22 | 1990-06-12 | Good | Good | concrete weir
Plenty River | 229616A | Plenty River at Mernda | 332620 | 5836550 | 1977-11-21 | 1977-12-25 | 1977-11-21 | 1977-12-25 | Good (few missing/invalid data periods) | Good | concrete control, good stability
Skeleton Creek | 587023 | Lake Borrie (Little River) RG | 284800 | 5791700 | na | 1993-08-06 | na | 1999-01-01 |  | Good (bad quality data in 03)
Skeleton Creek | 587030 | Werribee RG (Drome Paddock) | 292620 | 5800580 | na | 1991-03-25 | na | 1991-06-17 |  | Good (bad quality data in 03)
Skeleton Creek | 231110A | Skeleton Creek at Hoppers Crossing | 298650 | 5808000 | 1981-01-27 | 1981-01-27 | 1981-06-12 | 1981-01-27 | Fair (some missing/invalid data periods) | Good | natural, poor control
South East | 586036 | Hampton RG (at Bowling Club, Fewster St) | 325420 | 5799070 | na | 1991-02-12 | na | 1991-04-02 |  | Good
South East | 586115 | Caulfield RG (at North Rd SPS) | 326450 | 5803050 | na | 1987-09-17 | na | 1987-07-29 |  | Good (few gaps)
South East | 586184 | Sandringham RG (at SEW Service Reservoir) | 327300 | 5796400 | na | 1991-09-17 | na | 1991-09-17 |  | Good
South East | 586185 | Oakleigh South RG (at SEW Service Reservoir) | 331300 | 5800850 | na | 1991-05-29 | na | 1991-12-31 |  | Good
South East | 586194 | Caulfield North RG (in Caulfield Park) | 326600 | 5806450 | na | 1999-04-28 | na | 1999-06-02 |  | Good (gap 06/02-10/04)
South East | 586202 | Arthurs Seat RG (at Seawinds National Park) | 320650 | 5752500 | na | 1995-11-30 | na | 1995-12-01 |  | Good (gaps in 96)
South East | 586206 | Devilbend Reservoir RG | 333660 | 5761600 | na | 2000-04-04 | na | 2000-04-04 |  | Good (gaps in 04-05)
South East | 228372A | Kananook Ck at Seaford Rd, Seaford | 335700 | 5780140 | 1981-12-31 | na | 1981-12-31 | na | Fair (gaps in 96-98, 99, 01) |  | natural, influenced by tides
South East | 228378A | Skye Rd R/Basin at Frankston North | 337720 | 5777440 | 1981-09-25 | 1981-09-25 | 1981-09-25 | 1981-12-18 | Good (some gaps before 95) | Good (some gaps before 95) | basin outlet
South East | 229660A | Elsternwick Main Drain at Head St, Elsternwick | 324200 | 5804000 | 1988-02-04 | 1990-01-01 | 1988-02-04 | 1990-03-07 | Good | Good | concrete channel
South East | 229819A | Frankston Reservoir RG | 336291 | 5773437 | 2013-05-30 | 2013-06-11 | na | na |  | Fair
Thomson | 225811A | Myrrhee RG (Thomson - Yarra Divide) | 426006 | 5820835 | na | 1977-12-14 | na | 1977-12-14 |  | Good (some gaps between 85-87, 90-92)
Thomson | 225812A | Aberfeldy RG | 443314 | 5827641 | na | 2000-02-15 | na | 2000-02-15 |  | Good (some gaps in 09)
Thomson | 225813A | Mount St Gwinear RG | 441312 | 5811583 | na | 1989-07-01 | na | 1989-07-01 |  | Good (some gaps between 90-94)
Thomson | 225814A | Thomson Portal RG | 430737 | 5827680 | na | 1987-05-01 | na | 1987-05-01 |  | Good (some gaps between 87-93, 09)
Thomson | 225815A | Thomson Dam RG | 447139 | 5811426 | na | 1980-01-01 | na | 1980-01-01 |  | Good (some gaps between 80-91, 04-08)
Thomson | 225816A | Parkers Corner RG | 446321 | 5799098 | na | 1980-09-29 | na | 1980-09-29 |  | Good (some gaps between 87-91)
Thomson | 225817A | Bells Portal RG | 443100 | 5821750 | na | 2007-12-28 | na | 2007-12-28 |  | Good (some gaps between 09-10)
Thomson | 225818A | Jericho RG | 435536 | 5834212 | na | 1997-07-23 | na | 1997-07-23 |  | Good
Tidal Stations | 228371A | Eel Race Drain at Riviera St Culverts, Carrum | 335550 | 5782640 | 1962-08-01 | 1990-11-25 | 1990-11-25 | 1990-11-25 | Fair (some missing/invalid data periods and unreliable before 92) | Good (some gaps before 95 and in 04) | concrete structure
Tidal Stations | 228383A | Patterson River at Whalers Cove | 336160 | 5784600 | 1993-01-08 | na | 1993-01-08 | na | Good (gaps in 93, 94 )
Tidal Stations | 228397A | Mornington Tide Recorder | 319840.93 | 5739224.11 | 2010-03-03 | na | 156/03/2010 | na | Good
Tidal Stations | 229670A | Port Plillip Bay at St Kilda Marina | 321750 | 5806250 | 1977-05-18 | 1977-05-20 | 1977-06-08 | 1977-05-20 | Below average before 98 (many gaps) and Good after 98 (gap in 99)
Watts River | 586097 | Mt St Leonard RG | 369650 | 5841000 | na | 1998-02-27 | na | 1998-02-27 |  | Good
Watts River | 229130A | Maroondah Reservoir Level | 372350 | 5832650 | 1987-06-24 | 1987-06-24 | 1987-02-04 | 1987-06-24 | Good (some gaps) | Good | spillway
Watts River | 229133B | Graceburn Ck d/s Graceburn Weir | 374300 | 5831400 | 1987-09-08 | na | 1997-06-24 | na | Fair (some missing/invalid data periods) |  | concrete low flow control, good
Watts River | 229144A | Watts River at Healesville | 367760 | 5831450 | 1987-04-17 | na | 1987-04-17 | na | Good (few gaps) |  | natural, fair control
Watts River | 229820A | Mt Juliet Rain/Snow Gauge | 380539.63 | 5830191.87 | na | 1978-01-04 | na | 1978-01-04 |  | Good (daily data prior to May 1987)
Werribee River | 587000 | Mt Bullengarook Rain Gauge | 278506 | 5845254 | na |  | na | 2005-09-06 |  | Good
Werribee River | 587019 | Toolern Vale Rain Gauge | 285568 | 5828539 | na |  | na | 2005-09-06 |  | Good
Werribee River | 587036 | Mt Hope Rain Gauge | 252046 | 5846640 | na |  | na | 2005-09-06 |  | Good
Werribee River | 587037 | Blue Mountain Rain Gauge | 259837 | 5853599 | na |  | na | 2005-09-06 |  | Good
Werribee River | 587041 | Fiskville Rain Gauge | 254508 | 5834039 | na |  | na | 2005-09-06 |  | Good
Werribee River | 587066 | Mt Blackwood | 266850 | 5840010 | na | 2008-07-18 | na | 2008-07-18 |  | Good
Werribee River | 231200B | Werribee River at Bacchus Marsh | 273109 | 5826293 |  |  | 2005-09-09 | na | Good |  | broad crested weir, good control
Werribee River | 231204A | Werribee River at Werribee Diversion Weir | 292737 | 5804775 | 2008-12-09 | na | 2008-12-09 | na | Fair |  | Spillway, good control
Werribee River | 231205D | Werribee River d/s Melton Reservoir (Tail Gauge) | 286026 | 5819377 | 2008-12-02 | na | 2008-12-02 | na | Fair |  | Concrete weir, good control
Werribee River | 231211A | Lerderderg River u/s Goodman Ck | 272858 | 5831901 |  |  | 2005-09-06 | 2005-09-06 | Fair | Good | concrete low profile weir, good control
Werribee River | 231213A | Lerderderg River d/s Sardine Ck at O'Briens Crossing | 266617 | 5846824 | 1959-04-01 | na | 2013-06-24 | na | Good |  | concrete weir
Werribee River | 231225B | Werribee River at Ballan | 257249.14 | 5834952.14 | 1973-05-15 | na | 1973-05-15 | na | Good |  | Concrete weir
Werribee River | 231231A | Toolern Ck at Melton South | 286517 | 5821425 |  |  | 2005-09-06 | 2005-09-06 | Fair | Good | concrete low profile weir, good control
Werribee River | 231234A | Parwon Ck at Parwon | 272070 | 5821544 |  |  | 2005-09-06 | 2005-09-06 | Fair | Good | concrete hump, good control
Werribee River | 231237A | Werribee River at Cottrell St Ford, Werribee | 293940 | 5802780 | 2008-08-01 | na | 2008-08-01 | na | Fair |  | Culverts, good control
Werribee River | 232802A | Quandong Rain Gauge | 285155 | 5808998 | na | 2012-06-05 | na | 2012-06-05 |  | Good
Western Port Bay | 586033 | Cardinia Reservoir RG | 359600 | 5798200 |  | 1987-06-01 |  | 1987-07-28 |  | Fair (gaps in 94-96, 98-05)
Western Port Bay | 586196 | Upper Lang Lang RG (Poowong East) | 396700 | 5752900 | na | 1999-11-29 | na | 1999-12-16 |  | Good
Western Port Bay | 586199 | Berwick RG | 355900 | 5791600 | na | 1982-07-30 | na | 1982-07-30 |  | Fair (many gaps before 97)
Western Port Bay | 586201 | Upper Pakenham RG (Sheltons Rd) | 366700 | 5793050 | na | 1978-08-31 | na | 1978-08-31 |  | Fair (many gaps before 95)
Western Port Bay | 227219A | Bass River at Loch | 388602.37 | 5753723.8 | 1966-04-01 | 2009-09-15 | 1966-04-01 | 2009-09-16 | Good | Good | Concrete weir
Western Port Bay | 227231A | Bass River at McGraths Rd, Glen Forbes South | 370460.96 | 5741302.43 | 1973-03-30 | 2009-09-02 | 1973-03-30 | 2009-09-02 | Good | Good | Concrete weir
Western Port Bay | 228209B | Lang Lang River at Head Rd, Lang Lang | 380050 | 5766300 | 1959-11-19 | 1995-05-24 | 1959-11-19 | 1995-05-31 | Good | Good | spillway drop structure, fair control
Western Port Bay | 228217C | Toomuc Creek at Princes Highway, Pakenham | 365110 | 5785800 | 1964-06-25 | na | 1964-06-25 | na | Good |  | concrete weir, good control
Western Port Bay | 228228A | Cardinia Creek at Chasemore Rd, Cardinia | 359800 | 5779600 | 1974-04-09 | 1995-08-31 | 1975-04-30 | 1995-08-31 | Good | Good | rock control, good stability
Western Port Bay | 228258A | Cardinia Creek at Duffy's Road, Beaconsfield Upper | 358322 | 5796175 | 2006-10-12 | na | 2006-10-12 | na | Fair (gaps 06,07,10,11,16) |  | Concrete weir
Western Port Bay | 228363A | Deep Creek u/s of Princes Highway, Pakenham | 369900 | 5785750 | 1978-07-10 | na | 1978-07-10 | na | Good |  | V-notch weir, good control
Western Port Bay | 228364A | Kennedy Ck at Kennedy Rd, Pakenham | 367490 | 5786420 | 1978-07-01 | na | 1978-07-01 | na | Good (gaps before 95) |  | V-notch weir, good control
Western Port Bay | 228365A | Gumscrub Creek at Princes Highway, Officer | 361440 | 5785750 | 1980-06-29 | 1980-06-29 | 1980-06-29 | 1980-10-14 | Good (gaps before 95) | Good (gaps in 95) | concrete weir, good low flow control
Western Port Bay | 228382A | Cardinia Creek Drop Structure, Officer | 357950 | 5782740 | 1991-03-11 | 1990-11-02 | 1992-10-05 | 1990-11-02 | Good (gaps before 95) | Good (gaps before 95) | concrete culvert, good control
Western Port Bay | 228827A | Athlone RG | 393171 | 5766786 | na | 2018-09-18 | na | 2018-09-18 |  | Good
Woori Yallock Creek | 586085 | Woori Yallock RG | 370450 | 5817800 | na | 1987-06-22 | na | 1987-06-22 |  | Good (few gaps)
Woori Yallock Creek | 229215B | Woori Yallock Creek at Woori Yallock | 368780 | 5819050 | 1963-06-01 | na | 1963-06-03 | na | Good |  | rock control, good stability
Woori Yallock Creek | 229248B | Cockatoo Ck at Tschampions Rd, Nangana | 370550 | 5806800 | 1998-04-03 | na | 1998-04-03 | na | Good |  | Concrete weir
Woori Yallock Creek | 229677A | Shepherd Ck at Nangana | 370788 | 5807980 | 1993-06-24 | na | 1993-06-24 | na | Good (gaps from 1994-2010) |  | Riffle
Woori Yallock Creek | 229679B | Woori Yallock Ck at Parslows Rd, Yellingbo | 368570 | 5813980 | 1993-02-07 | na | 1993-02-07 | na | Good (gaps from 94-99) |  | Buried logs
Woori Yallock Creek | 229694B | Woori Yallock Ck at Old Emerald Rd, Monbulk | 362770 | 5804750 | 1999-07-09 | na | 1999-07-09 | na | Good |  | Riffle
Yarra River - Lower | 586010 | Eastern Golf Club RG (Doncaster) | 333520 | 5816300 | na | 1980-03-04 | na | 1980-03-04 |  | Good (some gaps) daily data before 90
Yarra River - Lower | 586100 | North Wharf RG | 319340 | 5811720 | na | 1995-05-11 | na | 1995-05-11 |  | Good (bad quality data in 03)
Yarra River - Lower | 586175 | Kew RG (At YVW Service Reservoir) | 328980 | 5813220 | na | 1991-08-23 | na | 1991-08-23 |  | Good (gaps in 97-99)
Yarra River - Lower | 229135A | Yarra RIver at Banksia St, Heidelberg | 330550 | 5818900 | 1965-05-05 | 1998-08-07 | 1975-06-20 | 1998-08-07 | Good | Good | natural, fairly stable control
Yarra River - Lower | 229142A | Yarra River at Fitzsimons Lane, Templestowe | 335650 | 5821150 | 1975-09-10 | 2014-08-15 | 1975-09-23 | 2014-08-15 | Good | Good | natural, good stability
Yarra River - Lower | 229143B | Yarra River at Rudder Grange, Alphington | 325700 | 5816020 | 2017-11-09 | na | 2017-11-09 | na | Good | Good | Dights falls, good stability, poor sensitivity
Yarra River - Lower | 229200B | Yarra River at Warrandyte | 342300 | 5821380 | 1959-04-20 | 1977-05-17 | 1959-04-20 | 1977-05-18 | Good | Good | natural rockbar, good control
Yarra River - Lower | 229229A | Koonung Ck at Bulleen | 330750 | 5816960 | 1996-11-21 | na | 1996-11-21 | na | Good (gaps in 99) |  | rockbar, good control
Yarra River - Lower | 229608A | Watsons Creek at Kangaroo Ground South | 346900 | 5825660 | 1980-09-22 | 1980-06-16 | 1980-09-22 | 1980-06-16 | Good (some gaps) | Good | natural, good control
Yarra River - Lower | 229621A | Yarra River at Burnley | 324200 | 5810800 | 1977-05-18 | 1977-05-18 | 1977-05-18 | 1977-05-18 | Fair (some gaps and bad quality data) | Good (bad quality data in 94) | natural, influenced by tides
Yarra River - Lower | 229622A | Yarra River at Johnston St, Collingwood | 324180 | 5814260 | 1977-08-25 | na | 1977-08-25 | na | Good (gaps 82-86, 01) |  | natural rockbar, influenced by high tide
Yarra River - Lower | 229663A | Yarra River at Hanna St (Crown Casino) | 320050 | 5811650 | 1979-10-29 | 1979-10-29 | 1979-10-29 | 1979-10-29 | Good (some gaps) | Good (data ends in 95) | natural, influenced by tides
Yarra River - Lower | 229687A | Yarra River at Hawthorn (Wallen Rd) | 325860 | 5811436 | 1986-01-06 | na | 1986-01-06 | na | Good (some gaps) |  | natural, influenced by tides
Yarra River - Lower | 229859A | Alphington RG | 326451 | 5815630 | na | 2017-07-28 | na | 2017-07-28 |  | Good
Yarra River - Upper | 586193 | Warburton RG (Four Mile Ck Reservoir) | 385330 | 5819400 | na | 1994-09-28 | na | 1999-04-30 |  | Good
Yarra River - Upper | 586195 | Beenak RG | 376900 | 5805400 | na | 1998-03-16 | na | 1998-03-16 |  | Good
Yarra River - Upper | 229102A | Upper Yarra Reservoir | 402400 | 5829800 | 1975-08-28 | 1957-01-04 | 1993-06-01 | 1978-07-10 | Good (gaps in 93, 94) | Good | Spillway
Yarra River - Upper | 229103A | Yarra River d/s Doctors Creek (UY3) | 402300 | 5830150 | 1990-08-21 | na | 1990-09-21 | na | Fair (some missing/invalid data periods) |  | concrete weir, poor sensitivity
Yarra River - Upper | 229206A | Yarra River at Yarra Glen | 356640 | 5830350 | 1991-09-02 | na | 1991-09-06 | na | Good (few gaps before 93) |  | natural, fair stability
Yarra River - Upper | 229212A | Yarra River at Millgrove | 381550 | 5820530 | 1963-04-01 | na | 1963-04-04 | na | Good |  | natural, good stability
Yarra River - Upper | 229214A | Little Yarra River at Yarra Junction | 378350 | 5817430 | 1963-04-01 | na | 1963-04-05 | na | Good |  | sheet piling control, good stability
Yarra River - Upper | 229220B | Don River at Don Valley | 376007 | 5823675 | 2011-09-30 | na | 2011-09-30 | na | Good
Yarra River - Upper | 229224A | Hoddles Ck at Warburton Hwy, Launching Place | 374650 | 5818030 | 1998-04-02 | na | 1998-04-02 | na | Good |  | Concrete weir
Yarra River - Upper | 229245A | Pauls Ck at Tarrawarra | 360920 | 5831350 | 1998-03-31 | na | 1998-03-31 | na | Good |  | Concrete weir
Yarra River - Upper | 229246C | Steels Ck at Yarra Glen | 358530 | 5832190 | 1998-03-31 | na | 1998-03-31 | na | Good |  | Concrete weir
Yarra River - Upper | 229247B | Stringybark Ck at Yering | 358955 | 5826970 | 2008-08-05 | 2010-01-05 | 2008-08-05 | 2010-01-05 | Good | Good | Culverts
Yarra River - Upper | 229270A | Yarra River d/s Yering Pumping Station | 351730 | 5826500 | 2003-06-13 | 2003-06-13 | 2003-06-13 | 2003-06-13 | Good | Good | natural, good stability
Yarra River - Upper | 229290A | Dixons Ck at Melba Hwy, Dixons Ck | 358880 | 5833280 | 2008-08-05 | 2010-01-06 | 2008-08-05 | 2010-01-06 | Good | Good | Concrete weir
Yarra River - Upper | 229401A | Stringybark Ck at Clegg Rd, Mt Evelyn | 359950 | 5817100 | 1999-07-09 | na | 1999-07-09 | na | Good |  | Culverts
Yarra River - Upper | 229404A | Yarra River at Warburton Highway | 385610 | 5820862 | 2008-06-04 | na | 2008-06-04 | na | Good |  | natural, fair stability
Yarra River - Upper | 229653A | Yarra River at Yarra Grange | 365590 | 5830000 | 1978-05-05 | 1987-06-15 | 1978-05-05 | 1987-07-30 | Good (gaps in 86, 87) | Good (some gaps before 92) | natural, fair stability
Yarra River - Upper | 229678A | McCrae Ck at Yellingbo | 368920 | 5812720 | 1993-06-24 | na | 1993-06-24 | na | Good (gaps from 94-99) |  | Concrete weir
Yarra River - Upper | 229681B | Wandin Yallock Ck at Chandler Rd, Seville East | 365760 | 5820020 | 1993-02-07 | na | 1993-02-07 | na | Good (gaps from 94-99) |  | Culverts
Yarra River - Upper | 229805A | Mount Horsfall RG | 416069 | 5819065 | na | 1987-11-12 | na | 1987-11-12 |  | Good (some gaps between 90-94)
Yarra River - Upper | 229810A | Cambarville RG | 401870 | 5842888 | na | 1978-07-04 | na | 1978-07-04 |  | Fair (bulk data up to 97) and Good (from July 09)
Yarra River - Upper | 229811A | Mount Strickland RG | 388152 | 5840825 | na | 1976-12-21 | na | 2009-07-31 |  | Fair (bulk data up to 09) and Good (from July 09)
Yarra River - Upper | 229814A | Mount Donna Buang | 383488 | 5825812 | na | 1977-12-13 | na | 2009-06-10 |  | Fair (bulk data up to 09) and Good (from June 09)
Yarra River - Upper | 229846A | Gladysdale RG | 382181 | 5813466 | na | 2003-03-25 | na | 2003-03-25 |  | Good (some gaps between 08-10)
Yarra River - Upper | 229849A | Mt Gregory RG | 423300 | 5827900 | na | 1971-03-12 | na | 1989-06-21 |  | Fair (bulk data up to 90) and Good (from Dec 04)
Yarra River - Upper | 229850A | Poley Range Rain/Snow gauge | 394300 | 5834800 | na | 2004-07-20 | na | 2004-07-20 |  | Good (some gaps)