Raingarden handover checklist

This list has been developed by Melbourne Water for use as a guide by Councils in assessing raingarden construction handover projects.

| Location |  |
| --- | --- |
| Inspected by |  |
| Asset ID |  |
| Date and time |  |
| Asset designed by: |  |
| Asset constructed by |  |
| Defects and liability period: |  |

| Item Inspected | Satisfactory (Y/N/NA) | Comments |
| --- | --- | --- |
| Treatment |  |  |
| 1. System appears to be working as designed visually? |  |  |
| 2. No obvious signs of under-performance? |  |  |
| 3. In situ measurement of Hydraulic Conductivity Kfs is 100-300mm/hr |  | http://www.monash.edu.au/fawb/publications/index.html |
| Maintenance |  |  |
| 4. Maintenance plans provided for each asset? |  |  |
| 5. Inspections and maintenance undertaken as per maintenance plan? |  |  |
| 6. Recent inspection and maintenance checklist completed and with no outstanding issues? |  |  |
| 7. Asset inspected for defects? |  |  |
| Asset Information |  |  |
| 8. Design Assessment Checklist provided? |  |  |
| 9. As constructed plans provided? |  |  |
| 10. Copies of all required permits (both construction and operational) submitted? |  |  |
| 11. Proprietary information provided (if applicable)? |  |  |
| 12. Digital files (including drawings, survey, MUSIC and other models) provided? |  |  |
| 13. Asset listed on asset register or database? | Y/N |  |