Sediment pond construction checklist

This list has been developed by Melbourne Water for use by Councils in assessing sediment pond construction projects.

| Location |  |
| --- | --- |
| Inspected by |  |
| Asset ID |  |
| Date and time |  |

| Item Inspected | Satisfactory (Y/N/NA) | Comments |
| --- | --- | --- |
| Preliminary Works |  |  |
| 1. Erosion and sediment control plan adopted |  |  |
| 2. Traffic control measures |  |  |
| 3. Location including inlet same as plans |  |  |
| 4. Site protection from existing stormwater flows |  | Hold Point |
| Earthworks and structural works |  |  |
| 5. Integrity of banks |  |  |
| 6. Batter slopes as plans |  |  |
| 7. Impermeable clay layer below compacted rock or reinforced concrete layer in base |  | Hold Point |
| 8. Maintenance access (e.g. ramp) installed |  |  |
| 10. Levels of base, banks, outlet and spillway as designed |  |  |
| 12. Safety protection (fence, barrier planting) provided at steep slope around inlet |  |  |
| 13. Pipe joints and connections as designed |  | Hold Point |
| 14. Concrete and reinforcement as designed |  |  |
| 15. Inlets appropriately installed |  |  |
| 16. Inlet energy dissipation installed | Y/N |  |
| 17. No seepage through banks |  |  |
| 18. Ensure spillway is level |  |  |
| 19. Provision of maintenance drain |  |  |
| 20. Collar installed on pipes |  |  |
| 21. Planting as designed (species and densities) |  | Hold Point |