Sediment pond handover checklist

This list has been developed by Melbourne Water for use as a guide by Councils in assessing sediment pond construction handover projects.

| Location |  |
| --- | --- |
| Inspected by |  |
| Asset ID |  |
| Date and time |  |
| Asset designed by: |  |
| Asset constructed by |  |
| Defects and liability period |  |

| Item Inspected | Satisfactory (Y/N/NA) | Comments |
| --- | --- | --- |
| Treatment |  |  |
| 1. System appears to be working as designed visually? |  |  |
| 2. No obvious signs of under-performance? |  |  |
| Maintenance |  |  |
| 3. Operation and Maintenance plans provided for each asset? |  |  |
| 4. Inspection and maintenance undertaken as per maintenance plan? |  |  |
| 5. Inspection and maintenance checklist completed and provided including up to date inspection with no outstanding issues? |  |  |
| 6. Asset inspected for defects? |  |  |
| Asset Information |  |  |
| 7. Design Assessment Checklist provided? |  |  |
| 8. As constructed plans provided? |  |  |
| 9. Copies of all required permits (both construction and operational) submitted? |  |  |
| 10. Proprietary information provided (if applicable)? |  |  |
| 11. Digital files (including drawings, survey, models) provided? |  |  |
| 12. Asset listed on asset register or database? | Y/N |  |